## raw CP reference matches sample
mzref | mzmatch | mzshift |  | mzshiftcal_singlepluslinearto500 | shift | mzmatch_singlepluslinearto500 | mzshiftcal_singlepluslinearto500_manual | ppm diff | linear fit line | mzmatchcal_singlepluslinear_manual | mzshiftcal_singlepluslinear_manual | ppm diff | linear fit line | slope | 6.7777e-09 | +1 ppm line
348.9437 | 348.9434 | -1.0079 |  | 0.041564 | -1.0495 | 348.9438 | 0.041564 | 1.0495 | -1.0239 | 348.9438 | 0.041564 | 1.0495 | -1.0238 | y-int | -3.3888e-06 | mz | ppm
362.9594 | 362.9592 | -0.44932 |  | 0.47556 | -0.92488 | 362.9596 | 0.47556 | 0.92488 | -0.92886 | 362.9594 | 0.47556 | 0.92488 | -0.92882 |  |  | 300 | 1
376.975 | 376.9747 | -0.9037 |  | -0.094161 | -0.80954 | 376.975 | -0.094161 | 0.80954 | -0.83386 | 376.975 | -0.094161 | 0.80954 | -0.83383 |  |  | 800 | 1
382.9048 | 382.9044 | -1.0752 |  | -0.27817 | -0.797 | 382.9047 | -0.27817 | 0.797 | -0.79367 | 382.9047 | -0.27817 | 0.797 | -0.79364
390.9907 | 390.991 | 0.85995 |  | 1.5624 |  | 390.9913 | 1.5624 | 0.70247 | -0.73887 | 390.9903 | 1.5624 | 0.70247 | -0.73883
396.9204 | 396.9199 | -1.4077 |  | -0.71577 | -0.69197 | 396.9201 | -0.71577 | 0.69197 | -0.69867 | 396.9201 | -0.71577 | 0.69197 | -0.69864 |  |  | -1 ppm line
410.9361 | 410.9361 | -0.0095542 |  | 0.58455 | -0.59411 | 410.9363 | 0.58455 | 0.59411 | -0.60368 | 410.936 | 0.58455 | 0.59411 | -0.60365 |  |  | mz | ppm
418.8628 | 418.8627 | -0.27614 |  | 0.30672 | -0.58287 | 418.863 | 0.30672 | 0.58287 | -0.54995 | 418.8629 | 0.30672 | 0.58287 | -0.54992 |  |  | 300 | -1
424.9517 | 424.9505 | -2.8688 |  | -2.3661 | -0.5027 | 424.9507 | -2.3661 | 0.5027 | -0.50868 | 424.9507 | -2.3661 | 0.5027 | -0.50865 |  |  | 800 | -1
432.8785 | 432.8781 | -0.95945 |  | -0.53645 | -0.423 | 432.8783 | -0.53645 | 0.423 | -0.45495 | 432.8783 | -0.53645 | 0.423 | -0.45493
446.8941 | 446.8941 | -0.097554 |  | 0.24389 | -0.34144 | 446.8943 | 0.24389 | 0.34144 | -0.35995 | 446.8941 | 0.24389 | 0.34144 | -0.35994
452.8239 | 452.8228 | -2.2749 |  | -1.938 | -0.33697 | 452.823 | -1.938 | 0.33697 | -0.31976 | 452.823 | -1.938 | 0.33697 | -0.31975
452.983 | 452.9838 | 1.7121 |  | 2.049 |  | 452.9839 | 2.049 | 0.33685 | -0.31868 | 452.9824 | 2.049 | 0.33685 | -0.31867
460.9098 | 460.9098 | 0.049807 |  | 0.31465 | -0.26485 | 460.9099 | 0.31465 | 0.26485 | -0.26495 | 460.9097 | 0.31465 | 0.26485 | -0.26494
461.0689 | 461.068 | -2.1232 | exists | -1.8585 | -0.26476 | 461.0681 | -1.8585 | 0.26476 | -0.26387 | 461.0681 | -1.8585 | 0.26476 | -0.26386
466.8395 | 466.8394 | -0.16832 |  | 0.027792 | -0.19611 | 466.8395 | 0.027792 | 0.19611 | -0.22476 | 466.8395 | 0.027792 | 0.19611 | -0.22475
466.9987 | 466.9983 | -0.87602 |  | -0.67998 | -0.19604 | 466.9984 | -0.67998 | 0.19604 | -0.22368 | 466.9984 | -0.67998 | 0.19604 | -0.22367
474.9254 | 474.9258 | 0.76679 |  | 0.95956 | -0.19277 | 474.9259 | 0.95956 | 0.19277 | -0.16996 | 474.9259 | 0.95956 | 0.19277 | -0.16995
480.8552 | 480.8551 | -0.088474 |  | 0.038456 | -0.12693 | 480.8552 | 0.038456 | 0.12693 | -0.12976 | 480.8552 | 0.038456 | 0.12693 | -0.12976
481.0143 | 481.0145 | 0.42986 |  | 0.55675 | -0.12689 | 481.0146 | 0.55675 | 0.12689 | -0.12868 | 481.0146 | 0.55675 | 0.12689 | -0.12868
488.9411 | 488.9411 | -0.05531 |  | 0.0071056 | -0.062416 | 488.9411 | 0.0071056 | 0.062416 | -0.074957 | 488.9411 | 0.0071056 | 0.062416 | -0.074954
494.8708 | 494.8712 | 0.66519 |  | 0.72686 | -0.061668 | 494.8712 | 0.72686 | 0.061668 | -0.034766 | 494.8712 | 0.72686 | 0.061668 | -0.034764
495.03 | 495.0299 | -0.126 |  | -0.064351 | -0.061648 | 495.0299 | -0.064351 | 0.061648 | -0.033687 | 495.0299 | -0.064351 | 0.061648 | -0.033685
500.8006 | 500.8002 | -0.70324 |  | -0.70324 | 0 |  | -1000000 | -999999.2968 | 0.0054262 | 500.8002 | -0.70324 | 7.9454e-10 | 0.0054259
502.9567 | 502.9566 | -0.22483 |  | -0.22483 | 0 |  | -1000000 | -999999.7752 | 0.020041 | 502.9566 | -0.22483 | -7.9113e-10 | 0.02004
508.8865 | 508.886 | -1.0214 |  | -1.0214 | 0 |  | -1000000 | -999998.9786 | 0.060233 | 508.8859 | -1.0814 | -0.059969 | 0.06023
509.0456 | 509.0461 | 0.84752 |  | 0.84752 | 0 |  | -1000000 | -1000000.8475 | 0.061311 | 509.046 | 0.78757 | -0.059951 | 0.061308
514.8162 | 514.8162 | 0.037964 |  | 0.037964 | 0 |  | -1000000 | -1000000.038 | 0.10042 | 514.8162 | -0.080593 | -0.11856 | 0.10042
516.9724 | 516.9719 | -1.0345 |  | -1.0345 | 0 |  | -1000000 | -999998.9655 | 0.11504 | 516.9718 | -1.1526 | -0.11806 | 0.11503
522.9021 | 522.902 | -0.28315 |  | -0.28315 | 0 |  | -1000000 | -999999.7168 | 0.15523 | 522.9019 | -0.39988 | -0.11672 | 0.15522
528.8319 | 528.8317 | -0.35656 |  | -0.35656 | 0 |  | -1000000 | -999999.6434 | 0.19542 | 528.8315 | -0.58739 | -0.23083 | 0.19541
530.988 | 530.988 | -0.1347 |  | -0.1347 | 0 |  | -1000000 | -999999.8653 | 0.21004 | 530.9879 | -0.3646 | -0.22989 | 0.21003
536.9178 | 536.9174 | -0.66335 |  | -0.66335 | 0 |  | -1000000 | -999999.3366 | 0.25023 | 536.9173 | -0.89071 | -0.22735 | 0.25022
542.8475 | 542.8473 | -0.39341 |  | -0.39341 | 0 |  | -1000000 | -999999.6066 | 0.29042 | 542.8471 | -0.73071 | -0.33731 | 0.29041
545.0037 | 545.004 | 0.60682 |  | 0.60682 | 0 |  | -1000000 | -1000000.6068 | 0.30504 | 545.0038 | 0.27085 | -0.33597 | 0.30502
550.9334 | 550.9337 | 0.41599 |  | 0.41599 | 0 |  | -1000000 | -1000000.416 | 0.34523 | 550.9335 | 0.083639 | -0.33235 | 0.34521
556.8632 | 556.8633 | 0.33884 |  | 0.33884 | 0 |  | -1000000 | -1000000.3388 | 0.38542 | 556.8631 | -0.099585 | -0.43842 | 0.3854
559.0193 | 559.0178 | -2.7286 | exists | -2.7286 | 0 |  | -1000000 | -999997.2714 | 0.40003 | 559.0176 | -3.1653 | -0.43673 | 0.40002
562.7929 | 562.7928 | -0.062048 |  | -0.062048 | 0 |  | -1000000 | -999999.938 | 0.42561 | 562.7926 | -0.49585 | -0.4338 | 0.42559
564.9491 | 564.949 | -0.070724 |  | -0.070724 | 0 |  | -1000000 | -999999.9293 | 0.44022 | 564.9488 | -0.50287 | -0.43215 | 0.44021
570.8788 | 570.8785 | -0.56859 |  | -0.56859 | 0 |  | -1000000 | -999999.4314 | 0.48042 | 570.8782 | -0.99625 | -0.42766 | 0.4804
576.8085 | 576.8087 | 0.21356 |  | 0.21356 | 0 |  | -1000000 | -1000000.2136 | 0.52061 | 576.8083 | -0.31551 | -0.52908 | 0.52058
578.9647 | 578.9646 | -0.21761 |  | -0.21761 | 0 |  | -1000000 | -999999.7824 | 0.53522 | 578.9643 | -0.74472 | -0.52711 | 0.5352
584.8945 | 584.8945 | 0.13276 |  | 0.13276 | 0 |  | -1000000 | -1000000.1328 | 0.57541 | 584.8942 | -0.49336 | -0.62611 | 0.57539
590.8242 | 590.8242 | 0.062878 |  | 0.062878 | 0 |  | -1000000 | -1000000.0629 | 0.61561 | 590.8239 | -0.55695 | -0.61983 | 0.61558
592.9804 | 592.9805 | 0.15709 |  | 0.15709 | 0 |  | -1000000 | -1000000.1571 | 0.63022 | 592.9801 | -0.46049 | -0.61758 | 0.63019
598.9101 | 598.9104 | 0.49555 |  | 0.49555 | 0 |  | -1000000 | -1000000.4956 | 0.67041 | 598.91 | -0.21782 | -0.71337 | 0.67038
604.8398 | 604.8397 | -0.18173 |  | -0.18173 | 0 |  | -1000000 | -999999.8183 | 0.7106 | 604.8393 | -0.88811 | -0.70638 | 0.71057
612.7666 | 612.7658 | -1.308 |  | -1.308 | 0 |  | -1000000 | -999998.692 | 0.76433 | 612.7653 | -2.1048 | -0.79685 | 0.7643
612.9258 | 612.9261 | 0.54301 |  | 0.54301 | 0 |  | -1000000 | -1000000.543 | 0.76541 | 612.9256 | -0.25363 | -0.79664 | 0.76538
618.8555 | 618.8555 | -0.020764 |  | -0.020764 | 0 |  | -1000000 | -999999.9792 | 0.8056 | 618.855 | -0.80977 | -0.78901 | 0.80557
626.7823 | 626.7822 | -0.05271 |  | -0.05271 | 0 |  | -1000000 | -999999.9473 | 0.85933 | 626.7817 | -0.92912 | -0.87641 | 0.85929
626.9414 | 626.9416 | 0.29629 |  | 0.29629 | 0 |  | -1000000 | -1000000.2963 | 0.86041 | 626.941 | -0.5799 | -0.87618 | 0.86037
632.8711 | 632.8713 | 0.22952 |  | 0.22952 | 0 |  | -1000000 | -1000000.2295 | 0.9006 | 632.8707 | -0.63846 | -0.86798 | 0.90056
640.7979 | 640.7978 | -0.18582 |  | -0.18582 | 0 |  | -1000000 | -999999.8142 | 0.95433 | 640.7972 | -1.1383 | -0.95249 | 0.95429
646.8868 | 646.8876 | 1.3181 | exists | 1.3181 | 0 |  | -1000000 | -1000001.3181 | 0.9956 | 646.887 | 0.28025 | -1.0379 | 0.99555
654.8136 | 654.8135 | -0.033601 |  | -0.033601 | 0 |  | -1000000 | -999999.9664 | 1.0493 | 654.8129 | -1.0589 | -1.0253 | 1.0493
660.7433 | 660.7436 | 0.45965 |  | 0.45965 | 0 |  | -1000000 | -1000000.4596 | 1.0895 | 660.7429 | -0.64883 | -1.1085 | 1.0895
668.8292 | 668.8294 | 0.29475 |  | 0.29475 | 0 |  | -1000000 | -1000000.2948 | 1.1443 | 668.8286 | -0.89159 | -1.1863 | 1.1443
674.7589 | 674.7589 | -0.039225 |  | -0.039225 | 0 |  | -1000000 | -999999.9608 | 1.1845 | 674.7581 | -1.2151 | -1.1759 | 1.1845
682.8449 | 682.8448 | -0.10544 |  | -0.10544 | 0 |  | -1000000 | -999999.8946 | 1.2393 | 682.8439 | -1.3568 | -1.2514 | 1.2393
688.7746 | 688.7746 | 0.013891 |  | 0.013891 | 0 |  | -1000000 | -1000000.0139 | 1.2795 | 688.7737 | -1.2267 | -1.2406 | 1.2795
696.8605 | 696.8605 | -0.051613 |  | -0.051613 | 0 |  | -1000000 | -999999.9484 | 1.3343 | 696.8596 | -1.3654 | -1.3138 | 1.3343
702.7902 | 702.7902 | -0.10881 |  | -0.10881 | 0 |  | -1000000 | -999999.8912 | 1.3745 | 702.7892 | -1.4984 | -1.3896 | 1.3745
716.8059 | 716.8058 | -0.056406 |  | -0.056406 | 0 |  | -1000000 | -999999.9436 | 1.4695 | 716.8048 | -1.5039 | -1.4475 | 1.4694
722.7356 | 722.7361 | 0.73252 |  | 0.73252 | 0 |  | -1000000 | -1000000.7325 | 1.5097 | 722.735 | -0.78758 | -1.5201 | 1.5096
730.8215 | 730.8214 | -0.25656 |  | -0.25656 | 0 |  | -1000000 | -999999.7434 | 1.5645 | 730.8202 | -1.8434 | -1.5868 | 1.5644
736.7513 | 736.7511 | -0.22663 |  | -0.22663 | 0 |  | -1000000 | -999999.7734 | 1.6047 | 736.7499 | -1.8007 | -1.574 | 1.6046
750.7669 | 750.7667 | -0.25569 |  | -0.25569 | 0 |  | -1000000 | -999999.7443 | 1.6997 | 750.7654 | -1.9629 | -1.7072 | 1.6996
764.7826 | 764.7823 | -0.2837 |  | -0.2837 | 0 |  | -1000000 | -999999.7163 | 1.7947 | 764.7809 | -2.1193 | -1.8356 | 1.7946
784.7279 | 784.7282 | 0.34005 |  | 0.34005 | 0 |  | -1000000 | -1000000.3401 | 1.9299 | 784.7267 | -1.6044 | -1.9445 | 1.9298
798.7436 | 798.7429 | -0.91984 |  | -0.91984 | 0 |  | -1000000 | -999999.0802 | 2.0249 | 798.7413 | -2.9066 | -1.9868 | 2.0248
646.7276 | 646.7286 | 1.5464 |  | 1.5464 | 0 |  | -1000000 | -1000001.5464 | 0.99452 | 646.728 | 0.50826 | -1.0381 | 0.99448
660.9024 | 660.9013 | -1.7029 |  | -1.7029 | 0 |  | -1000000 | -999998.2971 | 1.0906 | 660.9006 | -2.8111 | -1.1082 | 1.0905